Team Museum – MMAI 845

Project Proposal

Reinforcement Learning for smart HVAC control Using CityLearn

## This project examines how reinforcement learning (RL) can be used to improve the energy efficiency of building heating and cooling systems while keeping indoor conditions comfortable for occupants. The project will use CityLearn, a ready-made simulation environment for building energy management.

In this project, the RL agent will learn a control policy for a single building using a set of states. The state will represent the current building conditions such as indoor temperature, outdoor temperature, time of day, and current electricity demand. The actions will be heating or cooling control adjustments such as increasing, decreasing, or maintaining the current HVAC output. The reward will balance two goals- reducing energy consumption and avoiding discomfort by penalizing temperatures that move outside an acceptable comfort range. The policy is the learned rule that tells the agent which action to take in each building state.

In CityLearn, the RL agent interacts with the environment in a step-by-step loop. The input to the environment is the agent’s action, which represents a heating or cooling control decision. Inside the environment, CityLearn simulates the building system using factors such as the building’s thermal conditions, weather data, electricity demand, energy prices, carbon intensity, and available devices or energy systems. The output from the environment is the next state and a reward which tells the agent whether the chosen action was beneficial.

This problem fits the Markov Decision Process (MDP) framework well. The environment is the simulated building in CityLearn, the state is the building’s operating condition at a given time, the action is the HVAC control decision, and the reward reflects the trade-off between comfort and energy efficiency. The goal is to evaluate whether an RL-based controller can outperform a simple rule-based approach in managing building heating and cooling.

## Business Plan

This project connects directly to a realistic business use case: an AI-enabled smart building energy management solution for Canadian buildings. Commercial and residential property owners in Canada face rising utility costs, high winter heating demand and growing pressure to improve sustainability. A product based on this project could help build operators reduce energy bills by optimizing heating and cooling decisions in real time instead of relying only on fixed schedules or manual adjustments.

The product could be offered to property managers, office buildings, schools, hospitals, and residential building operators as a decision-support or automated control platform. It would use building data such as temperature, demand, and operating conditions to recommend or apply more energy-efficient HVAC settings. The value proposition would include lower operating costs, reduced peak electricity demand, improved occupant comfort, and support for carbon reduction goals.

A practical business rollout could begin with a single-building solution and later expand multiple buildings in a portfolio. This makes the project both achievable as RL application and realistic as the foundation for a commercially useful smart energy product in the Canadian market.